APPENDIX D

DRAWINGS AND BILLS OF MATERIAL

This section contains drawings and bills of material for the Ruska AutoPrompter Converter, Model 2411.

THIS PAGE INTENTIONALLY LEFT BLANK

BILL OF MATERIAL

2411-2400

ADAPTER KIT RTD & FPI TO 2400-700

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| 0001 | 2411-702 | FPI MOUNT ASSEMBLY | 1 | EACH |
| 0002 | 84-623 | TOOL,FPI ADJ-.200 | 1 | EACH |
| 0003 | 84-624 | TOOL,FPI ADJ-.400 | 1 | EACH |
| 0004 | 84-625 | TOOL,FPI ADJ-.600 | 1 | EACH |
| 0005 | 32-149 | HTSNK COMPND 10-8109 GENCMNT | 1 | EACH |
| 0006 | 99600-1-2 | ADPTR, RTD WELL | 1 | EACH |
| 0007 | 2411-702-007 | FTG ASSY,RTD-2400 | 1 | EACH |

PUT DRAWING 2411-702 HERE

BILL OF MATERIAL

2411-2465-751

ADAPTER KIT RTD & FPI TO 2465-751/2468

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| 0001 | 2411-702-008 | FTG ASSY,RTD-2465 & 2468 | 1 | EACH |
| 0002 | 2411-9 | CBL ASSY-FPI/RTD | 1 | EACH |

BILL OF MATERIAL

2411-2465-752

ADAPTER KIT RTD & FPI TO 2465-752

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| 0001 | 2411-5 | CBL ASSY,RTD/FPI | 1 | EACH |

BILL OF MATERIAL

2411-2475

ASSEMBLY, BOX - CONT - NULL INDICATOR

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| 0001 | 32-149 | HTSNK CMPND 10-8109 GENCMNT | 1 | EACH |
| 0002 | 99600-1-1 | ADPTR,RTD WELL | 1 | EACH |
| 0003 | 2411-702-006 | FTG ASSY,RTD-2480 & 2475 | 1 | EACH |
| 0004 | 2411-9 | CBL ASSY-FPI/RTD | 1 | EACH |

BILL OF MATERIAL

2411-2480

ADAPTER KIT, RTD & FPI TO 2480/2481

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| 0001 | 2411-702 | FPI MOUNT ASSEMBLY | 1 | EACH |
| 0002 | 84-620 | TOOL, PFI ADJ-.100 | 1 | EACH |
| 0003 | 84-621 | TOOL, FPI ADJ-.300 | 1 | EACH |
| 0004 | 84-622 | TOOL, FPI ADJ-.500 | 1 | EACH |
| 0005 | 32-149 | HT SINK COMPND 10-8109 GENCMNT | 1 | EACH |
| 0006 | 99600-1-1 | ADPTR, RTD WELL | 1 | EACH |
| 0007 | 2411-702-006 | FTG ASSY, RTD 2480 & 2475 | 1 | EACH |

PUT DRAWING 2411-2480 HERE

BILL OF MATERIAL

2411-803

AUTOPROMPTER ASSEMBLY

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
|  | 2411-TST | APC TEST | 1 | EACH |
| 0001 | 2411-1R00-ET001 | APC TEST SOFTWARE, CPU TEST | 1 | EACH |
| 0002 | 2411-1R00-ET002 | APC TEST SOFTWARE, KEYBOARD | 1 | EACH |
|  | 2411-1D06 | APC USER'S MANUAL | 1 | EACH |
| 0001 | 2411-2-68100 | ASSY, COV-APC | 1 | EACH |
| 0002 | 2411-1-5 | PCB ASSY, CPU | 1 | EACH |
| 0003 | 2411-3-1 | PL, BASE-APC | 1 | EACH |
| 0004 | 86-650 | TRIM,NPRN EXTD SHP DIE#167 | 4 | FEET |
| 0005 | 70-128-1201 | BHMS 6-32 X 1/4 SS | 21 | EACH |
| 0006 | 91-173 | WP 0.156 X .375 X .049 (#6) SS | 13 | EACH |
| 0007 | 23-820 | FEET, RUBBER AH .75DIA X .38 | 1 | PACK |
| 0008 | 75-276 | SPCR .250H X .62L X .138-32AL | 8 | EACH |
| 0009 | 16-81 | CD PWR, 1250W, 10A, 125V, 18AWG | 1 | EACH |
| 0011 | 91-371 | WPN 0.150 X .312 X .025 (#6) NY THK | 8 | EACH |
| 0012 | 1-398 | ADHESIVE, PLEX-WELD CEMENT #19 | .001 | PACK |
| 0013 | 2411-7 | PC BD KEYBD I/F ASSY | 1 | EACH |
| 0014 | 75-205 | SPCR M/F .250H X .75L X .138-32AL | 2 | EACH |
| 0015 | 91-265 | WEL 0.150 X 0.320 X .022 (#6) SS | 2 | EACH |

PUT DRAWING 2411-801-68100 HERE

PUT DRAWING 2411-801-68100 HERE

PUT DRAWING 2411-2-68100

PUT DRAWING 2411-2-68100 HERE

BILL OF MATERIAL

2411-7  PC BOARD KEYBOARD INTERFACE ASSEMBLY

| SEQ. NO. | COMPONENT ITEM NO. | DESCRIPTION | QTY. | UNIT OF MEASURE |
| --- | --- | --- | --- | --- |
| C001 | 10-128 | CAP CE .1 MF 50V 10% R | 1.000 | EACH |
| C002 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C003 | 10-202 | CAP CM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C004 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C005 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C006 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C007 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C008 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C009 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C010 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C011 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C012 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C013 | 10-202 | CAP DM 1000PF 500V 5% MIL-C-5 | 1.000 | EACH |
| C014 | 10-128 | CAP CE .1 MF 50V 10% R | 1.000 | EACH |
| D001 | 19-228 | SUPPRESSOR TVS505 | 1.000 | EACH |
| P001 | 14-529 | RT ANGL HEDR SGL ROW .025SQ | 1.000 | EACH |
| R001 | 67-10009 | RES CC 2K .25W5.00% RC07 | 1.000 | EACH |
| R002 | 67-10009 | RES CC 2K.25W5.00%RC07 | 1.000 | EACH |
| R003 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R004 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R005 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R006 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R007 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R008 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R009 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R010 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R011 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R012 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R013 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R014 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R015 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R016 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R017 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R018 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R019 | 67-10009 | RES CC 2K .25W5.00%RC07 | 1.000 | EACH |
| R020 | 67-10014 | RES CC 10 .25W5.00%RC07 | 1.000 | EACH |
| R021 | 67-10014 | RES CC 10 .25W5.00%RC07 | 1.000 | EACH |
| R022 | 67-10014 | RES CC 10 .25W5.00%RC07 | 1.000 | EACH |
| R023 | 67-10014 | RES CC 10 .25W5.00%RC07 | 1.000 | EACH |
| R024 | 67-398-100 | RES CC 100 .25W5.00%RC07 | 1.000 | EACH |
| UA1A | 14-1137 | INTERCONNECT STRIP 20 PIN | 1.000 | EACH |
| UA1B | 14-1137 | INTERCONNECT STRIP 20 PIN | 1.000 | EACH |
| U0S1 | 74-963 | SKT, 40 PIN HIGH RELIABILITY | 1.000 | EACH |
| U0S2 | 74-958 | SKT, 14 PIN HIGH RELIABILITY | 1.000 | EACH |
| U0S3 | 74-958 | SKT, 14 PIN HIGH RELIABILITY | 1.000 | EACH |
| U002 | 35-285 | IC HEX BUFFER W/OPEN COL 7407 | 1.000 | EACH |
| U003 | 35-285 | IC HEX BUFFER W/OPEN COL 7407 | 1.000 | EACH |
| 0001 | 2411-7-1 | PC BD KEYBD | 1.000 | EACH |

PUT DRAWING 2411-7 HERE

PUT DRAWING 2411-7 HERE

PUT DRAWING 2411-1-58500 HERE

PUT DRAWING 2411-1-58500 HERE