APPENDIX B

EXAMPLES OF AUTOPROMPTER MAIN AND SUB MENUS

MAIN MENU #1 OF 2:

1-GENERATE 4-DISPLAY PARA MAIN MENU 2-MEASURE 5-SELECT P/C -0.012in/21.8c 3-SET UNITS 6-SELECT MC P/C: 1 MS: 1 Ref Press: GAGE Unit: psi 1/2

MAIN MENU #2 OF 2:

7-SET PARAMETERS MAIN MENU 8-CALIBRATE SENSORS -0.012in/21.8C 9-CONFIGURE SYSTEM P/C: 1 MS: 1 2/2

'1-GENERATE PRESSURE' SCREEN #1:

Pressure: x.xxxxxxxe+01 unit GEN PRES Mass: RUN-g mass ON:

'2-MEASURE PRESSURE' SCREEN #1:

Apply masses, ENTER=stable... MEAS PRES RRRRRRRR ss.sss in/min ff.fffin/tt.tC + + v + + + -150 -60 0 60 T.TT 150

'3-SET PRESSURE UNITS' MENU #1 OF 2:

1-psi 4-mmHg 7-inHg SET UNITS 2-MPa 5-mmH2O 8-inH2O Units: 3-kg/cm2 6-alt (ft) 9-knots psi Pressure units desired? 1/2

'3-SET PRESSURE UNITS' MENU #2 OF 2:

1-psf 4-cmHg SET UNITS 2-kPa 5-cmH2O Units: 3-mb 6-atm psi Pressure units desired? 2/2

'4-DISPLAY PARAMETERS' MENU:

1-Display P/C Set Data DISP PARA 2-Display Mass Set Data Menu 3-Display Enviornment Parameters 4-Display Date/Time 1/2

5-SELECT PISTON/CYLINDER SET' SCREEN #1:

SET S?N SET S/N GET P/C 1- xxxxxxxx 4- xxxxxxxx 2- xxxxxxxx 5- xxxxxxxx 3- xxxxxxxx 6- xxxxxxxx P/C: x 1/3

'6-SELECT MASS SET' SCREEN #1:

SET MODEL S/N GET MS 1- xxxxxxx xxxxxx 2- xxxxxxx xxxxxx Mass Set: 1/3

'7-SET PARAMETERS' MENU:

1-Configure P/C Set Data SET PARA 2-Configure Mass Set Data Menu 3-Set Environment Parameters 4-Set Date/Time 1/1

'8-CALIBRATE SENSORS' MENU #1 OF 1:

SENSOR LAST DATE TIME CAL 1-RTD Auto-Cal mm-dd-yy hh:mn 2-RTD Calibration mm-dd-yy hh:mn 3-FPI Adjustment mm-dd-yy hh:mn 1/1

'9-CONFIGURE SYSTEM' SCREEN #1:

RTD Sensor: [NOT INSTALLED] CONFIG FPI Sensor: [NOT INSTALLED] FPI Filter: [NONE ] K:0.25 Printer: [NOT INSTALLED] 1/4

THIS PAGE INTENTIONALLY LEFT BLANK