SECTION 1.0

INTRODUCTION

1.1	SYSTEM OVERVIEW

The primary goals of the AutoPromptTM Converter (AutoPrompter) are:

1.	Enhancement to a deadweight gage pressure generation and measurement system.

2.	Performs the mass-to-pressure and pressure-to-mass calculations and corrections.

3.	Automation of temperature and float position measurement.

4.	Consistency in calibration of the device under test through operator prompts.

Figure 1-1 illustrates how the AutoPrompter interfaces to a deadweight gage and printer for pressure generation and measurement.

1.2	MANUAL OVERVIEW

Section 2 gives an overview of the AutoPrompter. Purpose, specifications, pressure generation and measurement methodology are discussed.

Section 3 presents the user interface to the AutoPrompter.  This interface consists of a membrane keyboard with twenty-four keys and a four-line display screen.  Definition of terms, field editor operation and menu organization are provided.

Section 4 provides the basic steps required for startup, configuration and shutdown of the AutoPrompter within the deadweight gage system.

Section 5 discusses control of the AutoPrompter from the keyboard.  Each menu selection is presented in detail.

References are listed in the reference section following Section 5.

Appendix A presents a flow diagram of each menu and its interaction with other menus.

Appendix B provides an example listing of main and sub menus.

Appendix C provides instructions on connecting RTD and FPI sensors to a Ruska deadweight gage.  Also included is a list of all Ruska deadweight gages that interface to the AutoPrompter.

Appendix D contains drawings and bills of material.

Appendix E contains test and calibration reports.