## Definitions
Files.cFileName | Files.iFile | Files.cFileType | Procedures.cProcedureName | Procedures.nAttTemplateUID | Procedures.cProcedureType | Procedures.nCategoryUID | Types.nManufacturerUID | Types.cModelNumber | Types.cDescription | TypeProcedureDefaults.cMaintenanceType
The name of the file record as it appears in MET/TEAM (usually the same as the actual file name) | The actual name of the file to upload. | The categorization of the file (should be set to "Procedure"). | A descriptive name of the procedure. If you plan on updating your existing proc.dir-configured procedure records in MET/TEAM, the data found here should match their procedure names exactly. | The name of the file to attach as the procedure's data sheet (should be equal to the Files.cFileName column) | The service type for the procedure (i.e., "Calibration"). | The category of the procedure (i.e., "MET/CAL"). | The manufacturer of the type record to associate with this procedure. | The model number of the type record to associate with this procedure. | The description of the type record to associate with this procedure. | The service type of the procedure as it pertains to this type (i.e., "Calibration").
tek_mso3012_1yr_ver_visa_5520_sc1100.pxe | tek_mso3012_1yr_ver_visa_5520_sc1100.pxe | Procedure | MSO3012 Verification | tek_mso3012_1yr_ver_visa_5520_sc1100.pxe | Calibration | MET/CAL | Tektronix | MSO3012 | Mixed Signal Oscilloscope | Calibration
fluke_373_1yr_ver_5520_5500coil.pxe | fluke_373_1yr_ver_5520_5500coil.pxe | Procedure | Fluke 373 Verification | fluke_373_1yr_ver_5520_5500coil.pxe | Calibration | MET/CAL | Fluke | 373 | Digital Clamp Meter | Calibration
fluke_177_1yr_ver_5520.pxe | fluke_177_1yr_ver_5520.pxe | Procedure | Fluke 177 Verification | fluke_177_1yr_ver_5520.pxe | Calibration | MET/CAL | Fluke | 177 | Digital Multimeter | Calibration
fluke_289_1yr_ver_rs232_5520.pxe | fluke_289_1yr_ver_rs232_5520.pxe | Procedure | Fluke 289 Verification | fluke_289_1yr_ver_rs232_5520.pxe | Calibration | MET/CAL | Fluke | 289 | Digital Multimeter | Calibration
amprobe_tmd90_1yr_ver_rs232_5520.pxe | amprobe_tmd90_1yr_ver_rs232_5520.pxe | Procedure | Amprobe TMD90 Verification | amprobe_tmd90_1yr_ver_rs232_5520.pxe | Calibration | MET/CAL | Amprobe | TMD90 | Digital Thermometer | Calibration

## Empty_Template
Files.cFileName | Files.iFile | Files.cFileType | Procedures.cProcedureName | Procedures.nAttTemplateUID | Procedures.cProcedureType | Procedures.nCategoryUID | Types.nManufacturerUID | Types.cModelNumber | Types.cDescription | TypeProcedureDefaults.cMaintenanceType