## Sheet1
6270A non-Autodetect setup in COMPASS for Pressure
Goes with COMPASS database named "CompSetp 6270A non-Autodetect.mdb"
Chart of outputs
RawText | FinalText | Read Command | Init Command
Pressure 0.0000000 - 3000.0000000 psi | Active Pressure, Absolute mode | meas:pres? | SENSE:PRES:MODE ABSOLUTE
Pressure 0.0000000 - 3000.0000000 psi | Active Pressure, Gauge mode | meas:pres? | SENSE:PRES:MODE GAUGE
Pressure 11.0000000 - 16.0000000 psi | ATM | meas:atm?
Pressure 0.000 - 3000.000 psi | PCM Exhaust Pressure, Absolute mode | meas:pres7?
Pressure 0.000 - 3000.000 psi | PCM Supply Pressure, Absolute mode | meas:pres6?
Pressure 0.000 - 3000.000 psi | PCM Test Pressure, Absolute mode | meas:pres4?
Pressure 0.0000000 - 3000.0000000 psi | Slot1 PMM, Absolute mode | meas:pres5?
Pressure 0.0000000 - 3000.0000000 psi | Slot1 PMM, Gauge mode | meas:pres5?
Pressure 11.0000000 - 16.0000000 psi | Slot1 baro | meas:pres2?
Pressure 0.0000000 - 3000.0000000 psi | Slot1 Fast, Absolute mode | meas:pres8?
Temperature 0.0000000 - 100.0000000 C | Slot1 Temperature | meas:temp2?
Pressure 0.0000000 - 3000.0000000 psi | Slot2 PMM, Absolute mode | meas:pres15?
Pressure 0.0000000 - 3000.0000000 psi | Slot2 PMM, Gauge mode | meas:pres15?
Pressure 11.0000000 - 16.0000000 psi | Slot2 baro | meas:pres12?
Pressure 0.0000000 - 3000.0000000 psi | Slot2 Fast, Absolute mode | meas:pres18?
Temperature 0.0000000 - 100.0000000 C | Slot2 Temperature | meas:temp12?
Pressure 0.0000000 - 3000.0000000 psi | Slot3 PMM, Absolute mode | meas:pres25?
Pressure 0.0000000 - 3000.0000000 psi | Slot3 PMM, Guage mode | meas:pres25?
Pressure 11.0000000 - 16.0000000 psi | Slot3 baro | meas:pres22?
Pressure 0.0000000 - 3000.0000000 psi | Slot3 Fast, Absolute mode | meas:pres28?
Temperature 0.0000000 - 100.0000000 C | Slot3 Temperature | meas:temp22?
Pressure 0.0000000 - 3000.0000000 psi | Slot4 PMM, Absolute mode | meas:pres35?
Pressure 0.0000000 - 3000.0000000 psi | Slot4 PMM, Gauge mode | meas:pres35?
Pressure 11.0000000 - 16.0000000 psi | Slot4 baro | meas:pres32?
Pressure 0.0000000 - 3000.0000000 psi | Slot4 Fast, Absolute mode | meas:pres38?
Temperature 0.0000000 - 100.0000000 C | Slot4 Temperature | meas:temp32?
Pressure 0.0000000 - 3000.0000000 psi | Slot5 PMM, Absolute mode | meas:pres45?
Pressure 0.0000000 - 3000.0000000 psi | Slot5 PMM, Gauge mode | meas:pres45?
Pressure 11.0000000 - 16.0000000 psi | Slot5 baro | meas:pres42?
Pressure 0.0000000 - 3000.0000000 psi | Slot5 Fast, Absolute mode | meas:pres48?
Temperature 0.0000000 - 100.0000000 C | Slot5 Temperature | meas:temp42?
RawText | FinalText | Set1 Command | Set2 Command
Pressure 0.00000 - 3000.00000 psi | Pressure Set, Gauge mode | SOURCE:PRESSURE [x] | OUTPUT:MODE CONTROL
| Pressure Set, Gauge mode -> Vent | outp:mode vent
| Pressure Set, Gauge mode -> Abort | outp:mode vent
Pressure 0.00000 - 3000.00000 psi | Pressure Set, Absolute mode | SOURCE:PRESSURE [x] | OUTPUT:MODE CONTROL
| Pressure Set, Absolute mode -> Vent | outp:mode vent
| Pressure Set, Absolute mode -> Abort | outp:mode vent
Choose "PCM Test Pressure, Absolute mode" as the DUT
Verify that the COM settings are correct, and set the serial number
Choose "Active Pressure, Absolute mode" or "Active Pressure, Absolute mode" as the Reference Pressure device
Choose "Pressure Set, Gauge mode" or "Pressure Set, Absolute mode" as the Test Pressure Control device
Choose "ATM" as the Ambient Pressure device
Choose Auxiliary outputs as desired (note that maximum that can be saved in a data file are quantity 10)
No changes should be necessary on this screen
Final Screen, press [Finish]
You will get this error, press [OK]
If you know how to do macros you could read the other outputs and assign them to User Defined 1 to 10 outputs in the macro. Probably a relationship or interface macro
Make sure that Aux1 to Aux10 are being saved in the data file, and User1 to User10 if you're using them in a macro
Maybe configure the screen like this when running
1. If running a manual COMPASS test enter setpoints here
3. When running a manual COMPASS test record data by clicking one of these icons
2. When running a manual COMPASS test create a datafile by clicking the folder icon
Click this icon to display windows